**ADVANCED METERING INFRASTRUCTURE**

**QUESTIONS #3**

1. What are the Tower addresses and Tower Heights?

Raiford St tank 128’

Griswold St tank 133’

Peedin St tank approx. 130’

W. Oak tank approx. 130’